{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"images":1},"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":47,"n_cols":7,"rows_kept":47,"merged":[[5,0,5,6],[6,0,6,6],[7,0,7,6],[24,2,24,3],[25,2,25,3],[26,2,26,3],[27,2,27,3],[28,2,28,3],[29,2,29,3],[30,2,30,3],[31,2,31,3]]}
[]
[]
[]
[]
[]
["REQUEST FOR QUOTATION (RFQ)"]
["DATE: 17th July 2022"]
["REFERENCE No.: PROC/001/07/2022"]
[]
["Sub: Quotations for acquisition of 10.8 kW solar system at Kiran Foundation - Kiran School Kati Pahari Campus (KSKP)"]
["Quotations are requested for the procurement of equipments and associated works as per below mentioned details and specifications:"]
["Delivery location: KSKP, Islamia Colony, Karachi."]
[]
[null,"S.No.    ","Description of equipments/works","Specification","Quantity","Rate","Amount"]
[]
[null,1,"540 watt Mono Perc module\nBrand: Jinko/Longi/Canadian/JA CHINA","Solar modules","20 pv"]
[null,{"$f":"B16+1","v":2},"8-kw MPPT 48v Inverter IP-65 High efficiency\nBrands- Nitrox or Equivalent","Inverter MPPT","1 unit"]
[null,{"$f":"B17+1","v":3},"48v 100AH Lithium LFP 5.0 kwhr bank\nLi-Power (China) 4000 cycles @80% DOD","Batteries","2 units"]
[null,{"$f":"B18+1","v":4},"5.0kw Chemical Earthing","Earthing","1 job"]
[null,{"$f":"B19+1","v":5},"Special Elevated Mounting Structure 14G","Mounting structure","RFT"]
[null,{"$f":"B20+1","v":6},"Wires, DC breakers, fuse, change-over and other miscellaneous ",null,"1 set"]
[]
["Load Chart"]
[]
[null,"Quantity","Appliance",null,"Power (watts)","Day time (Hours)","Night Time (Hours)"]
[null,30,"LED lights 12watt",null,360,6,0]
[null,10,"Fans 100watt",null,1000,6,0]
[null,3,"Street lights 150watt",null,450,0,10]
[null,15,"Laptops 70watt",null,{"$f":"15*70","v":1050},6,0]
[null,1,"Laser printer",null,650,3,0]
[null,1,"CCTV & other",null,300,6,10]
[null,2,"1.5 Ton Inverter type AC",null,4000,6,0]
[]
["Payment terms:"]
["Quote validity:"]
["Delivery & Installation Timeline:"]
["Warranty and Guarantee:"]
["Backup time in hours and the load capacity"]
[]
["Instructions for Suppliers/Bidders:"]
["For as many cables as there are, Use Pakistan Cables"]
["All quotations should be in PKR and inclusive of all expenses and taxes."]
["Quotations for all or any of the items are acceptable."]
["Vendors profile, manufacturer's product specification sheet and product samples must be provided with quotes."]
["For querries kindly send email to procurement@kiranschool.com"]
["Sealed bids with all supports must reach us by 25th July 2022 on Procurement Department, Head Office, Kiran Foundation, Shah Abdul "]
["Latif Bhittai Road, Nawabad, Block-A, Street No-10, UC3, Lyari Town Karachi, Pakistan-75660"]